## Sheet1
Type of Work to be performed | Building | Electrical | Plumbing | Fire | Mechanical | Zoning | Engineer | Comments
Abandonment or removal of an underground fuel oil, gasoline or diesel storage tank |  |  |  | X |  |  |  | underground tanks more than 1100 gals: DEP approval required (farm or residential)
Air conditioning - new installation | X | X | X
Air conditioning - replacement |  | X |  |  | X |  |  | *Mechanical - Residential only
Alarm systems |  | X |  | X |  |  |  | Commercial only (unless a wired system)
Asbestos abatement | X | [6 empty] | Educational and public buildings: any building that houses a day care or child care facility
Canopies and awnings | X | X |  |  |  | X |  | Used for patio coverings, car ports or other similar use
Chimneys and vents |  |  |  |  | X |  |  | Chimney certification required for liners
Clothes dryer (residential) |  | * | * |  | X |  |  | *Electrical reqd for electric, plumbing & fire for gas
Commercial furnace or boiler |  | X |  | X
Construction trailer | X | X |  |  |  | X | X
Decks (new) | X |  |  |  |  | X |  | *Must check with construction/building official
Dish antennas: more than 2 ft. in diameter | X | X |  |  |  | X
Electric heat pump - new installation (residential) | * | X |  |  | X |  |  | *New duct work
Electric heat pump - replacement (residential) |  | X |  |  | X
Elevator (Commercial) | X | X |  |  |  | * |  | **DCA Subcode Required *Zoning required if shaft is outside of building
Elevator (Residential) | X | X |  | X |  |  |  | **DCA Subcode Required
Factory built fireplace (pre fab) | X | * |  | X | * |  |  | *Electrical reqd if equipped with fan. Mechanical reqd if equipped with gas logs or lighter
Fences over 6 ft | X |  |  |  |  | X |  | Over 6 ft requires Land Use Board approval (cannot encroach on required site triangles)
Fences under 6 ft | [5 empty] | X |  | Cannot encroach on required site triangles
Fireplace gas log lighter if (new) |  |  | X |  | * |  |  | *Direct replacement
Flag poles: ground supported | X |  |  |  |  | X | X
Type of Work to be performed | Building | Electrical | Plumbing | Fire | Mechanical | Zoning | Engineer | Comments
Garages | X | X |  |  |  | X
Garbage disposal (if allowed) |  | X | X
Gas to Gas furnace or boiler (replacement) |  | X |  |  | X
Gazebos | X |  |  |  |  | X
Generators (new install in existing dwelling/direct replacement) |  | X | * | * | X | X |  | *Plumbing/Fire required for new construction
Heating fuel oils tanks (new installation) |  |  |  | X
Hot tubs and spas (pre-packaged) | * | X | * |  |  | X |  | *Plumbing req'd if has permanent water supply. Building req'd for concrete pad
Kitchen exhaust systems (commercial) | X | X |  | X |  | X
Lawn sprinklers |  |  | X |  |  |  |  | Plumbing for backflow preventer
Masonary fireplace | X |  | * | X |  | * |  | *Zoning req'd if located on exterior of building. Plumbing req'd if equipped with gas logs or lighter
Motor fuel tanks - above ground, inside or outside (new installation) | X | X | X | X |  | X | X | Underground tanks: DEP approval required, farm or residential
Oil fired to oil furnace or boiler (replacement) |  | X |  |  | X
Oil to natural gas furnace |  | X |  |  | X |  |  | Underground oil tank to have closure permit submitted before construction permit can be issued
Pool (in-ground) | X | X | X |  |  | X
Pool (above ground) | X | X | X |  |  | X
Pool Heater (add to existing pool) |  | * |  |  | X |  |  | *Electrical required if heat pump is installed
Propane gas to natural gas furnace (residential) |  | X |  |  | X
Propane tanks (new) |  |  | X | X |  | X | X | above or in-ground tanks
Propane tanks - Commercial | X | * | X | X |  | X | X | DCA shall be the sole enforcing agency, building is for security fence, electrical if pump installed
Radio and television antennas | X | X |  |  |  | X |  | Building required if more than 12 ft. in height above roof
Type of Work to be performed | Building | Electrical | Plumbing | Fire | Mechanical | Zoning | Engineer | Comments
Radio and television towers | X | X |  |  |  | X | X
Radon mitigation system | X | X
Retaining/landscaping walls over 48" | X |  |  |  |  | X | * | *over 6 ft.
Roof covering; replacement and re-covering | * | [6 empty] | *No permit required for residential if like for like
Sales trailer | X | X | * | X |  | X | X | *Plumbing req'd if it has a toilet with sewer connection or for business use
Shed 100 sf. or less | [5 empty] | X |  | *Not to exceed 10 ft hight
Shed over 200 sf. | X |  |  |  |  | X |  | 4" gravel under shed with ground anchors
Siding | * | [6 empty] | *No permit required for residential only if like for like
Signs | X | * |  |  |  | X | * | *Electrical req'd if illuminated, engineer if free standing
Site lighting | X | X |  |  |  | X | X
Solar heating and cooling system | X | X | X | X
Storage trailer | X |  |  | X |  | X | X
Temporary heat connected to natural gas | X | X | X | X
Temporary structures | X | X | X | X |  | X |  | Over 120 sf. or used for gatherings of 10 or more people (excluding tents)
Water heater - electric (new installation) |  | X | X
Water heater - electric (replacement) |  | X |  |  | X
Water heater - gas (new construction) |  |  | X | X
Water heater - gas (new existing dwelling) |  |  |  |  | X
Water heater - gas (replacement) |  |  |  |  | X
Water heater - oil (replacement) |  | X |  |  | X